# 1. 	Step By Step Preventive Maintenance Procedure

The following step by step procedure has to be followed closely.  The measuring results have to be noted at section 2 of this document or attached drawings.  Specific system PM items checks for each individual system, can be inserted in section 1.7 this document during the PM if necessary.

## 1.1   	System Preparation & Status Indication

|  |  | OK | PL |
| --- | --- | --- | --- |
| a. | Contact the system custodian on-site and discuss any item that has to be investigated in the system on line. |  |  |
| b. | Before starting the routine maintenance tests, first check the system status. All modules should indicate the healthy state. Check led indications: |  |  |
|  | Processor: RUN LED on |  |  |
|  | Chiller Plant PLC 1 |  |  |
|  | Chiller Plant PLC 2 |  |  |
|  | Level 2 PLC |  |  |
|  | Level 5B PLC |  |  |
|  | Level 6 PLC |  |  |
|  | Level 7 PLC |  |  |
|  | Level 8 PLC |  |  |
|  | Level 9 PLC |  |  |
|  | Level 10 PLC |  |  |
|  | Level 11 PLC |  |  |
|  | Level 12 PLC |  |  |
|  | Level 13 PLC |  |  |
|  | Level 14 PLC |  |  |
|  | Level 15 PLC |  |  |
|  | Level 16 PLC |  |  |

## 1.2   	PLC Software Backup

|  |  | OK | PL | N/A |
| --- | --- | --- | --- | --- |
| a. | Create a logic back-up for each controller. |  |  |  |
| b. | Store this back-up on a PM folder in Client engineering workstation. |  |  |  |
| c. | Store this back-up on offline storage and keep by CDSB. |  |  |  |

## 1.3  	SCADA Software Backup

|  |  | OK | PL | N/A |
| --- | --- | --- | --- | --- |
| a. | Create a system and database back-up for SCADA workstation. |  |  |  |
| b. | Store this back-up on a PM folder in Client engineering workstation. |  |  |  |
| c. | Store this back-up on offline storage and keep by CDSB. |  |  |  |

## 1.4  	Communications Tests – PLC to SCADA Station

|  |  | OK | PL | N/A |
| --- | --- | --- | --- | --- |
| a. | At the SCADA station, launch the Command Prompt software. ‘Ping’ the PLC Ethernet module and ensure feedback is received. |  |  |  |
| b. | Note: SCADA Station IP address: 192.168.1.2 |  |  |  |
|  | Chiller Plant PLC 1: 192.168.1.10 |  |  |  |
|  | Chiller Plant PLC 2: 192.168.1.11 |  |  |  |
|  | Level 2 PLC: 192.168.1.14 |  |  |  |
|  | Level 5B PLC: 192.168.1.15 |  |  |  |
|  | Level 6 PLC: 192.168.1.16 |  |  |  |
|  | Level 7 PLC: 192.168.1.17 |  |  |  |
|  | Level 8 PLC: 192.168.1.18 |  |  |  |
|  | Level 9 PLC: 192.168.1.19 |  |  |  |
|  | Level 10 PLC: 192.168.1.20 |  |  |  |
|  | Level 11 PLC: 192.168.1.21 |  |  |  |
|  | Level 12 PLC: 192.168.1.22 |  |  |  |
|  | Level 13 PLC: 192.168.1.23 |  |  |  |
|  | Level 14 PLC: 192.168.1.24 |  |  |  |
|  | Level 15 PLC: 192.168.1.25 |  |  |  |
|  | Level 16 PLC: 192.168.1.26 |  |  |  |

## 1.5   	Power Supplies

|  |  | OK | PL | N/A |
| --- | --- | --- | --- | --- |
| a. | Field Power Supplies Specification: 24Vdc ±5% To be measured and recorded according to system drawings. |  |  |  |
| b. | Chiller Plant Panel |  |  |  |
|  | Level 2 Panel |  |  |  |
|  | Level 5B Panel |  |  |  |
|  | Level 6 Panel |  |  |  |
|  | Level 7 Panel |  |  |  |
|  | Level 8 Panel |  |  |  |
|  | Level 9 Panel |  |  |  |
|  | Level 10 Panel |  |  |  |
|  | Level 11 Panel |  |  |  |
|  | Level 12 Panel |  |  |  |
|  | Level 13 Panel |  |  |  |
|  | Level 14 Panel |  |  |  |
|  | Level 15 Panel |  |  |  |
|  | Level 16 Panel |  |  |  |

## 1.6   	Instrumentation and Thermostat

|  |  | OK | PL | N/A |
| --- | --- | --- | --- | --- |
| a. | Check instrument’s reading on SCADA |  |  |  |
| b. | Check thermostat’s reading on SCADA |  |  |  |

## 1.7   	System specific Checks

|  | Description | OK | PL |
| --- | --- | --- | --- |
| a. |  |  |  |
| b. |  |  |  |
| c. |  |  |  |
| d. |  |  |  |
| e. |  |  |  |
| f. |  |  |  |
| g. |  |  |  |
| h. |  |  |  |
| I. |  |  |  |
| j. |  |  |  |
| k. |  |  |  |
| l. |  |  |  |
| m. |  |  |  |
| n. |  |  |  |
| o. |  |  |  |
| p. |  |  |  |
| q. |  |  |  |

# 2.  	Concerns & Suggestions

------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------------

# 3. 	Reporting

- Submit this document together with a relevant service report to the client.

- Feedback immediately to CDSB Product Support if there are any failures including system, electrical and mechanical.

| Attended By: |  | Verified by: |
| --- | --- | --- |
| Engineer’s Signature |  | Customer’s Signature |
| Name: |  | Name: |
| Date: |  | Date: |

# END OF DOCUMENT