| Project Title |  | CAOP INDONESIA PROJECT |  |  | Person In-charge |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project Code |  |  |  |  |  |  |  |
| Customer |  | KAWAN ENGINEERING SDN BHD |  |  | Contact/Email |  |  |
| Site Location |  | PANGKALAN BUN |  |  |  |  |  |
| Date / Time |  | Start Time | End Time |  | Normal |  | OT |
| Work Description |  |  |  |  |  |  |  |
| - Latest graphic updated at scada. - H2O and PFAD flow to sonification tank need change from sharing with reactor A to reactor B. - Client request to put start/stop and all setting for each operation on reactor dosing at the side of reactor page. *Suppose return flight will be on 1/8/24 but client request to prolong the stay due to unforeseen circumstances on running for reactor B. After the meeting that was held this morning with the end user CEO, it is confirmed that running of reactor B on dosing and cooling sequence will only proceed after the changes has been done on motor sizing, electrical and mechanical work. Client would estimate need to return to site 2 weeks later and they also requested plc programmer to standby around 3 weeks later. |  |  |  |  |  |  |  |
| Acceptance / Verification |  |  |  |  |  |  |  |
| Witness by |  |  |  | Verified by |  |  |  |
| Name: |  |  |  | Name: |  |  |  |
| Signature: |  |  |  | Signature: |  |  |  |
| Date: |  |  |  | Date: |  |  |  |